TULELAKE IRRIGATION DISTRICT   (May 2009)

Acres 63,000

46,000 Private

17,000 Public

242 Miles of canals

334 Miles of drains

26 Miles of dikes

Pumps

37 Pumping Plants

69 Pump units

170,000 to 200,000 Acre feet per year

Pumping Plant D

3650 Horsepower (3-750 HP units and 2-700 HP units)

75 CFS/unit (33,660 GPM) (48,470,000 Gallons per day)

323 CFS total (145,066 GPM) (208,800,000 Gallons per day)

Automation

48 Gates automated

16 Sites with telemetry

Power Cost for Drain Pumping only

Drain	       D	          D Plant

Pumps	     Plant     Acre Feet

2003	  $37,183	  $21,826	59,570

2004	  $42,620	  $28,129	64,695

2005	  $43,383	  $24,360	78,913

2006	$208,521	$116,900	85,408

2007	$295,355	$143,189	39,063

2008	$431,560	$198,682	50,171