US Bureau of Reclamation - Klamath Project

Weekly Water Report - Un-corrected Data

If you have any questions about this report, contact Jennifer Birri at 880-2540.

UPPER KLAMATH LAKE - The surface elevation of Upper Klamath Lake as of 11/25/2008 was  4139.23 above sea

level, and its storage was 197,021 a.f.  The lake elevation was up 0.06 feet from a week earlier,  and the storage

was up 4,171 a.f. from a week earlier.  The lake elevation was up 0.48 feet from a month earlier,  and the storage

was up 32,854 a.f. from a month earlier.  The lake elevation was up 0.14 feet from a year earlier,  and the storage

was up 8,992 a.f. from a year earlier.

CLEAR LAKE - The surface elevation of Clear Lake as of 11/25/2008 was 4523.27 above sea level, and its storage

was 77670 a.f.  The lake elevation was down from 0.38 feet a year earlier, and the storage was down 6190 a.f.

from a year earlier.

GERBER RESERVOIR - The surface elevation of Gerber Reservoir as of 11/25/2008 was  4820.55 above sea level,

and its storage was 43945 a.f.  The lake elevation was up from 0.74 feet a year earlier, and the storage was up 2166

a.f. from a year earlier.

Klamath River Report

DATE	Link  River	A Canal 	Keno 	Iron Gate 	Last Year	Link River	A Canal 	Keno	Iron Gate

11/18/2008	611	0	831	1,330	11/18/200	828	0	928	1330

7

11/19/2008	703	0	882	1,030	11/19/200	871	0	932	1350

7

11/20/2008	769	0	906	1,330	11/20/200	903	0	933	1340

7

11/21/2008	707	0	909	1,330	11/21/200	999	0	933	1330

7

11/22/2008	757	0	909	1,330	11/22/200	975	0	934	1330

7

11/23/2008	752	0	908	1,330	11/23/200	958	0	935	1330

7

11/24/2008	800	0	909	1,330	11/24/200	990	0	935	1330

7

11/25/2008	752	0	912	1,330	11/25/200	973	0	935	1330

7

Upper Klamath Lake Inflow in CFS

11/18/2008	1,306	11/18/2007	2,476

11/19/2008	703	11/19/2007	3,847

11/20/2008	769	11/20/2007	1,901

11/21/2008	1,402	11/21/2007	2,330

11/22/2008	1,105	11/22/2007	1,975

11/23/2008	1,459	11/23/2007	-375

11/24/2008	800	11/24/2007	990

11/25/2008	1,105	11/25/2007	1,639