US Bureau of Reclamation - Klamath Project

Weekly Water Report - Un-corrected Data

If you have any questions about this report, contact Jennifer Birri at 541-880-2540.

UPPER KLAMATH LAKE - The surface elevation of Upper Klamath Lake as of 11/1/2009 was 4138.18 above

sea level, and its storage was 126,137 a.f.  The lake elevation was up 0.04 feet from a week earlier, and the

storage was up 2,650 a.f. from a week earlier.  The lake elevation was up 0.05 feet from a month earlier, and

the storage was up 3,311 a.f. from a month earlier.  The lake elevation was down 0.52 feet from a year earlier,

and the storage was down 34,648 a.f. from a year earlier.

CLEAR LAKE - The surface elevation of Clear Lake as of 11/1/2009 was 4521.85 above sea level, and its

storage was 56,150 a.f.  The lake elevation was down 1.37 feet from a year earlier, and the storage was down

20,720 a.f. from a year earlier.

GERBER RESERVOIR - The surface elevation of Gerber Reservoir as of 11/1/2009 was 4812.24 above sea

level, and its storage was 22,095 a.f.  The lake elevation was down 8.32 feet from a year earlier, and the

storage was down 21,879 a.f. from a year earlier.

Klamath River Report

DATE	Link  River	A Canal 	Keno 	Iron Gate 	Last Year	Link River	A Canal 	Keno	Iron Gate

10/25/2009	877	28	938	1,340	10/25/2008	878	0	835	1330

10/26/2009	989	28	950	1,340	10/26/2008	946	0	832	1330

10/27/2009	871	28	976	1,350	10/27/2008	1060	0	927	1320

10/28/2009	910	26	974	1,350	10/28/2008	1210	0	986	1320

10/29/2009	1,020	26	975	1,340	10/29/2008	1210	0	983	1320

10/30/2009	1,030	26	975	1,340	10/30/2008	1070	0	932	1320

10/31/2009	1,080	26	975	1,350	10/31/2008	800	0	853	1320

11/1/2009	1,060	26	977	1,330	11/1/2008	955	0	862	1330

Upper Klamath Lake Inflow in CFS

10/25/2009	1,238	10/25/2008	1,560

10/26/2009	684	10/26/2008	1,287

10/27/2009	3,576	10/27/2008	1,060

10/28/2009	-739	10/28/2008	1,210

10/29/2009	-289	10/29/2008	1,210

10/30/2009	1,722	10/30/2008	47

10/31/2009	1,106	10/31/2008	-1,923

11/1/2009	2,089	11/1/2008	2,996