US Bureau of Reclamation - Klamath Project

Weekly Water Report - Un-corrected Data

If you have any questions about this report, contact Jennifer Birri at 880-2540.

UPPER KLAMATH LAKE - The surface elevation of Upper Klamath Lake as of 6/3/2008 was  4142.86 above sea

level, and its storage was 472211 a.f.  The lake elevation was up 0.23 feet from a week earlier,  and the storage

was up 22717 a.f. from a week earlier.  The lake elevation was up 0.13 feet from a month earlier,  and the storage

was up 12988 a.f. from a month earlier.  The lake elevation was up 0.40 feet from a year earlier,  and the storage

was up 30968 a.f. from a year earlier.

CLEAR LAKE - The surface elevation of Clear Lake as of 6/3/2008 was 4527.32 above sea level, and its storage

was 151440 a.f.  The lake elevation was down from 0.26 feet a year earlier, and the storage was down 5160 a.f.

from a year earlier.

GERBER RESERVOIR - The surface elevation of Gerber Reservoir as of 6/3/2008 was  4830.81 above sea level, and

its storage was 77285 a.f.  The lake elevation was up from 0.53 feet a year earlier, and the storage was up 1885 a.f.

from a year earlier.

Klamath River Report

DATE	Link  River	A Canal 	Keno 	Iron Gate 	Last Year	Link River	A Canal 	Keno	Iron Gate

5/27/2008	781	625	1,180	1,940	5/27/2007	1410	780	937	1410

5/28/2008	782	550	1,200	1,990	5/28/2007	1510	800	944	1420

5/29/2008	773	445	1,320	2,140	5/29/2007	1640	829	943	1420

5/30/2008	778	348	1,530	2,160	5/30/2007	1540	846	944	1420

5/31/2008	785	353	1,660	2,120	5/31/2007	1950	846	1030	1470

6/1/2008	818	358	1,650	2,120	6/1/2007	2090	846	1080	1570

6/2/2008	1,100	366	1,620	2,040	6/2/2007	1740	790	1070	1550

6/3/2008	1,160	420	1,600	2,040	6/3/2007	1720	780	1060	1540

Upper Klamath Lake Inflow in CFS

5/27/2008	1,815	5/27/2007	1,018

5/28/2008	3,376	5/28/2007	1,139

5/29/2008	3,670	5/29/2007	908

5/30/2008	3,170	5/30/2007	1,216

5/31/2008	2,366	5/31/2007	1,235

6/1/2008	3,223	6/1/2007	1,765

6/2/2008	2,202	6/2/2007	1,750

6/3/2008	2,199	6/3/2007	549